**Powering on the computers**

*Display Computer*

* Turn on the power strip
* Plug in the camera
* Turn on computer and accompanying monitor
* Login to computer with the lab username and password
* Plug in the dongle
* Load your experiment
* Take off lens cap ONLY when ready to run a participant

*Host Computer*

* Turn on the power strip
* Turn on computer and accompanying monitor
* Select Eye link from Windows boot manager on researcher computer
* Select tracker on eye link menu

**Powering off the computers**

*Host Computer*

* Select “Exit Setup”
* Select “Shut Down”
* Turn off power strip once computer has shut down

*Display Computer*

* **Put on lens cap WITHOUT touching the lens!**
* Exit experiment builder
* Shut down the computer using the shutdown option on the windows menu
* Turn off power strip once computer has shut down
* Remove dongle and return to Megan or Dr. Hill